|  |  |  |
| --- | --- | --- |
| Version | Date | Description of Revisions |
| 1 | August 30, 2006 | Approved final document. |
| 2 | June 10, 2014 | First draft review comments (AV) |
| 3 | June 8, 2015 | Second Draft for Review (AV) |
| **4** | **September 16, 2015** | **Updated, Finalized Specification – Reference eDOCS #5823647-v4 (AV)** |
| 5 | May 18, 2017 | Updated references to Standards ASTM F1412-16, ASTM D4101-14e2, ASTM D2843-14(2015) (AAM) |
| 6 | August 15, 2017 | Updated cited products (CDP PMO, OMM) |

NOTE:

This is a CONTROLLED Document. Any documents appearing in paper form are not controlled and should be checked against the on-line file version prior to use.

**Notice:** This Document hardcopy must be used for reference purpose only.

**The on-line copy is the current version of the document.**

## References

### American Society for Testing Materials (ASTM)

#### [ASTM F1412-16, Standard Specification for Polyolefin Pipe and Fittings For Corrosive Waste Drainage Systems](http://www.astm.org/Standards/D2665.htm)

#### ASTM D4101-14e2, Standard Specification for Polypropylene Injection and Extrusion Materials

#### ASTM D635-14, Standard Test Method for Rate of Burning and/or Extent and Time of Burning of Plastics in a Horizontal Position

#### ASTM D2843-14, Standard Test Method for Density of Smoke from the Burning or Decomposition of Plastics

#### ASTM D2657-07 (2015), Standard Practice for Heat Fusion Joining of Polyolefin Pipe and Fittings

### American National Standards Institute (ANSI):

#### ANSI/ASME B16.12-2009(R2014), Cast Iron Threaded Drainage Fittings

|  |  |  |
| --- | --- | --- |
| Item | Size | Description |
| Pipe | All | Polypropylene, ASTM F1412-16, Type 1, Schedule 40; resin meeting ASTM D4101-14e2. Conforming to the requirements of ASTM D635-14, and ASTM D2843-14. |
| Fittings | All | Polypropylene, ASTM F1412-16, Type 1, Schedule 40, socket type ends conforming to the requirements of ANSI B16.12-2009(R2014), ASTM D2657-07(2015), and ASTM D4101-14e2. |
| Joints | All | Socket-weld type, electrically fused. |

**END OF SECTION**