|  |  |  |
| --- | --- | --- |
| Version | Date | Description of Revisions |
| 1 | September 21, 2009 | Excel Form Created |
| 2 | September 17, 2015 | Conversion of form into MSWord |
|  |  |  |
|  |  |  |
|  |  |  |

NOTE:

This is a CONTROLLED Document. Any documents appearing in paper form are not controlled and should be checked against the on-line file version prior to use.

**Notice:** This Document hardcopy must be used for reference purpose only.

**The on-line copy is the current version of the document.**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Symbol: | | | |  |  |  |  |
| Serving: | | | |  |  |  |  |
| DX  Cooling  Data | Capacity | kW | |  |  |  |  |
| Ambient Temp. | oC | |  |  |  |  |
| Seer | @ARI | |  |  |  |  |
| DX  Heating  Data | Capacity | kW | |  |  |  |  |
| Cond. Temp. | oC | |  |  |  |  |
| COP | @ARI | |  |  |  |  |
| Outdoor  Fan  Data | No. | | |  |  |  |  |
| kW | | |  |  |  |  |
| Steps | | |  |  |  |  |
| Voltage | | |  |  |  |  |
| Phase | | |  |  |  |  |
| L/s (Total) | | |  |  |  |  |
| Compressor Data | No. | | |  |  |  |  |
| Steps | | |  |  |  |  |
| RLA (ea.) | | |  |  |  |  |
| LRA (ea.) | | |  |  |  |  |
| Voltage | | |  |  |  |  |
| Phase | | |  |  |  |  |
| Electrical  Data | # of Connections | | |  |  |  |  |
| MCA | | |  |  |  |  |
| (MCOP) Fuse | | |  |  |  |  |
| Voltage | | |  |  |  |  |
| Phase | | |  |  |  |  |
| Dimensions | Length | | m |  |  |  |  |
| Width | | m |  |  |  |  |
| Height | | m |  |  |  |  |
| Maximum Weight | | kg |  |  |  |  |
| Manufacturer: | | | |  |  |  |  |
| Model No: | | | |  |  |  |  |
| Applicable Remarks: | | | |  |  |  |  |
| Remarks:     |  |  |  |  | | --- | --- | --- | --- | | **A:** | Crankcase Heater | **I:** | Factory Installed Accumulator | | **B:** | condenser hail Guards | **J:** | Low-Ambient Cooling Kit | | **C:** | 5-Year Compressor Warranty For Each Compressor | **K:** | Wall-Mount Kit | | **L:** | Compressor Start Assist | | **D:** | Dip Applied Anti-Corrosion Coating On Condenser Coil (Not Spray Applied) | **M:** | Cabinet Corrosion Protection | | **N:** | Compressor Cycle Delay | | **E:** | Copper Condenser Coil Fins | **O:** | Hot-Gas Reheat | | **F:** | Factory Installed Unloader Accessory | **P:** | Liquid Line Filter Drier | | **G:** | Hot Gas Bypass On Lead Compressor | **Q:** | Liquid Solenoid Valve | | **H:** | Hot Gas Bypass On Both Compressors | **J:** | Low-Ambient Cooling Kit | | | | | | | | |