|  |  |  |
| --- | --- | --- |
| Version | Date | Description of Revisions |
| 1 | September 21, 2009 | Excel Form Created |
| 2 | September 24, 2015 | Conversion of form into MSWord |
|  |  |  |
|  |  |  |
|  |  |  |

NOTE:

This is a CONTROLLED Document. Any documents appearing in paper form are not controlled and should be checked against the on-line file version prior to use.

**Notice:** This Document hardcopy must be used for reference purpose only.

**The on-line copy is the current version of the document.**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Symbol | Unit Type | Location | Air Delivery | | Hot Water Heating Coil Data | | | | | | Electric Data | | Max. Weight kg | Manufacturer and Model No. | Remarks |
| Supply Air  L/s | Fan Motor kW | Capacity kW | Water Side | | | | | Voltage | Phase |
| L/s | EWT oC | | LWT  oC | Delta P  kPa |  |  |  |  |  |
|  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |
| Remarks:  Note 1: Provide Factory Installed Motor Starter  Note 2: Capacity Listed Is At High Speed Setting For Fan | | | | | | | | |  |  | | --- | --- | | Unit Type Legend | | | H | Horizontal | | VC | Vertical Cabinet | | RW | Recessed Wall | | RC | Recessed Ceiling | | | | | | | | |